Upon alignment with Windows and Linux, it was seen that Average TDC0 and 1 and 2 were significantly lower for Win and Linux. Michael suggested it was due to lower amount of corruption in data.

One weird event from Windows data. Michael found it to be due to noise during shutting off.

Efficiency studies

This was used to probe the efficiency of the RPCs using reconstruction.

BAD

Skipping channel 0

Surprisingly, TDC2 and 3 were brought back to alignment after skipping the noisy channels, however TDC3 and 4 remained unalignable, however a clear change of state was seen when partial alignment was successful.

Higher overall efficiency

3 orders of magnitude difference (average 100 possible reconstructions, quality factor filters out everything)

This much clearly shows that the shape of this curve determine alignment, which is good. Currently unsure the reason for the unaligned RPC5 enforcing a skipping channel condition.

To analys time, skip chunk was used to quickily walk through regions that needn’t alignment

if we updated consectively, we skip 100 chunks

Made the code cleverer. Now monitors Michael’s other metrics.

We say that if there are more than 4 peaks above a hittime of 300, we name the status of the TDC 3 to be broken, which means we don’t attempt to realign it, instead we use [01,12,24] any other times we use [01,12,23,34]

This reduced the time of processing by 3 fold, but not very useful, since TDC oscillates between dead and alive status, and no clear distinction was seen between the two status in terms of the hit times.

It seems like this behavior is not consistent, especially when you have removed the channel, so really you are hoping the first channel

This is not a consistent effect in the broken region, and cannot be used to probe if the TDC is in alive status or not

Ok so averaging Is needed, this effect could not be observed using 100 intervals. Hence a larger interval had to be looked at to see if the TDC is dead or alive

Lets try 7000

god region 6704

god region 6724

god region 6472

god region 7190

god region 7060

god region 6954

god region 6938

god region 6648

god region 6283

god region 6116

god region 6110

god region 6488

god region 6323

god region 6602

bad region 7361

bad region 8416

bad region 8363

bad region 9223

bad region 9077

bad region 8695

bad region 8071

bad region 8800

bad region 9099

bad region 8458

bad region 8265

bad region 8274

bad region 8581

bad region 8803

bad region 8644

bad region 8395

bad region 8824

bad region 8131

bad region 8802

So 7600 used

Hit time defined by the total amount of time a interval of regions had a event time larger than 700ns

Ahh first hittime instead of hittime

try 5000 and 3800