Now everything in classes.

TDC3 monitoring script updated. Now using the script

Introduced monitor factor, which is the ratio between monitoring chunk to the event chunk. Larger you get better metric, but could also miss times when TDC3 is alive or dead.

Current monitoring factor 3 seems to give adequate resolution

We are only reloading the event builder after it came back to nominal state, and nothing else is done...

All other TDCs operates normally

However sometimes they lose alignment out of absolutely no reason, this is extremely odd.

For 25 million events